[image: image1.wmf]       BOARD OF INTERMEDIATE & SECONDARY EDUCATION, BANNU
TENDER FORM FOR DC INVERTER ACs 
[image: image2.wmf]
Name of Firm _____________________________________________________________

Address __________________________________________________________________

NTN No. __________________ GST Registration No. _______________________________

Owner of Firm CNIC No./ Photocopy ____________________________________________
KPPRA registration No. _______________________________________________________

CDR/Bank Draft No.___________Name of Bank/Code ______________________________

Amount _______________. Phone No._____________Cell No. ________________________

Tax No. of firm _____________________________________.

Note: The firm must be on active tax payer list of the FBR. The quantities mentioned against each items are approximate. 
Specifications of 1 Ton DC Inverter AC. 

	Ton:
	1

	Fixed or inverter:
	DC Inverter

	Cooling Capacity(BTU):
	12000(2400-14400)

	Heating Capacity(BTU):
	17000(2400-23000)

	Applied Room Size(m2):
	14

	Air Circulation（m³/h）:
	700

	Power Input(W)-Cooling:
	800(160-1320)

	Power Input(W)-Heating:
	1070(160-1790)

	Running Current(A)-Cooling:
	2.0 - 7.15

	Running Current(A)-Heating:
	2.0 - 8.5

	EER:
	4.38

	COP:
	4.67


Specifications of 1.5 Ton DC Inverter AC. 

 Key Features

· Low Voltage Operation up to 140v

· Heat and Cool Function

· Biggest Indoor and Outdoor Units

· 4 Way Cooling

· Easy Installation

Specifications

Cooling - Rated Capacity    

       

5200 (2200-5700) W

Cooling - Rated Power Consumption   

1640 (550-2200) W

Cooling - Running Current 



7.2 (2.5-9.7) A

SEER – Cooling




3.6

Heating - Rated Capacity



5200 (2400-6000) W

Heating - Rated Power Consumption


1600 (600-2300) W

Heating - Running Current



7.1 (2.6-10.2) A

SEER – Heating




3.6

Low Voltage Operation



Yes
Sd/-   
 (SECRETARY)
   BISE, Bannu
� EMBED CorelDraw.Graphic.7  ���











_1011766953.unknown

